Project BIM Execution Plan v1.0

[Project Name]

Revision [Revision Number]

Submitted Date [Submission Date]

Author Name: [Name]

Author Company: [Name]

Author E-mail: [Email]

Project Image

# REVISION HISTORY

| Revision | Date | Description | Author | Reviewed | Approved |
| --- | --- | --- | --- | --- | --- |

# CONTACTS

| Role | Name | Company | Email | Phone |
| --- | --- | --- | --- | --- |
| BIM Coordinator |  |  |  |  |
| Civil BIM Lead |  |  |  |  |
| Architectural BIM Lead |  |  |  |  |
| Structural BIM Lead |  |  |  |  |
| Hazardous BIM Lead |  |  |  |  |
| Electrical BIM Lead |  |  |  |  |
| FP\Plumbing BIM Lead |  |  |  |  |
| Mechanical BIM Lead |  |  |  |  |
| Program Manager |  |  |  |  |
| Project Manager |  |  |  |  |
| Assistant Architect |  |  |  |  |
| Business Unit Leader |  |  |  |  |
| For all other project contact see master distribution list on BIM360. |  |  |  |  |

ISSUED: Month XX, 202X

Updated: (Month XX, 202X)

TABLE OF CONTENTS

REVISION HISTORY	2

CONTACTS	2

BIM EXECUTION PLAN	5

PROJECT INFORMATION	5

SCOPE OF WORK	5

DELIVERABLES	6

PROJECT BIM GOALS	6

BIM USES	6

SOFTWARE	7

FILE STRUCTURE	7

BIM 360 Doc 	7

MODELS LIST	8

COLLABORATION PROCEDURES	8

BIM EXECUTION PLAN UPDATE PROTOCOL	8

COMMUNICATION PROTOCOL	8

MEETING PROCEDURES	8

BIM EXCHANGE PROTOCOL	9

3D MODEL COORDINATION	9

QUALITY CONTROL	10

OVERALL STRATEGY FOR QUALITY CONTROL / QUALITY CONTROL CHECKS	10

MODELING STANDARDS	10

MODELING EXCLUSIONS	11

REVIT SET UP	11

SHARED COORDINATES	11

REVIT MODEL NAMING COVENTION	11

REVIT LINKS	12

REVIT TEMPLATES	12

WORKSETS	12

LEVELS & GRIDS	12

PROJECT BROWSER	12

REVIT MODELING	13

REVIT COORDINATION & PUBLISHING	13

LEVEL OF DEVELOPMENT	15

COLLISON INTEREFERENCE CHECK	15

REVIT SHEET CREATION	17

SHEET NUMBERING	17

KEYPLAN	18

SHEET ORDER PARAMETER	19

ANNOTATION	21

# BIM EXECUTION PLAN

The purpose of the Execution Plan is to assure consistency in our Revit models and uniformity in all contract drawings produced for this project and make delivery to the client an efficient and coordinated process. The Project BIM Coordinator will be responsible for creating and maintaining a BIM Coordination Program which is based on achieving the milestone dates in the Design Team Project Program. The Program will define key model release dates, BIM coordination meetings, documentation release dates and any other milestones pertinent to the management of the BIM process.

The end result of the design effort shall be contract documents generated from the Revit central files, and coordinated Revit central files delivered to contractors for their use in generating shop drawings and fabrication models for coordination between disciplines.

# PROJECT INFORMATION

- Client: [Client Agency]

- OGS Project Number : [#######]

- Project Name: [Name of the project, contract number reference]

- Project Location and Address:  [Address]

- Contract Type/Delivery Method: [DesignBuild, DBB etc.]

- Project Schedule / Phases / Milestones: [Include BIM milestones, pre-design activities, major design reviews, stakeholder reviews, and any other major events which occur during the project lifecycle. Listed below are examples of phases/milestones to be included in the BEP, remove and/or revise to update to the project phases.]

| PROJECT PHASE / MILESTONE | ESTIMATED START DATE | ESTIMATED COMPLETION DATE | PROJECT STAKEHOLDERS INVOLVED |
| --- | --- | --- | --- |
| Existing conditions documentation |  |  | Director’s Rep, A/E, subconsultants, CM |
| 60% Design / Preliminary Design |  |  |  |
| 85% Drop Plot / Constructability Review |  |  |  |
| 100% Design / Final Design |  |  |  |
| Bid Final |  |  |  |

# SCOPE OF WORK

See Design Implementation Plan

# DELIVERABLES

Refer to Design Implementation Plan

# PROJECT BIM GOALS

[Describe major goals to be achieved utilizing BIM on the project, revise the examples shown below with respect to the project scope]

- Clash free BIM : Streamlined MEP/FP coordination (High Priority)

- Design Visualizations for Stake holder buy-in (Medium Priority)

- Quantity Takeoff (Medium Priority)

# BIM USES

[Describe how BIM will be used by consultant in each applicable phase of the project. Put ‘X’ next to appropriate use cases, Revise table to include additional use cases if not listed.]

| X | PROGRAM | X | DESIGN | X | CONSTRUCT | X | OPERATE |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | PROGRAMMING |  | DESIGN AUTHORING |  | SITE UTILIZATION PLANNING |  | BUILDING MAINTENANCE SCHEDULING |
|  | SITE ANALYSIS |  | DESIGN REVIEWS |  | CONSTRUCTION SYSTEM DESIGN |  | BUILDING SYSTEM ANALYSIS |
|  | EXISTING CONDITIONS MODEL |  | 3D COORDINATION |  | 3D COORDINATION |  | ASSET MANAGEMENT |
|  |  |  | STRUCTURAL ANALYSIS |  | DIGITAL FABRICATION |  | SPACE MANAGEMENT |
|  |  |  | LIGHTING ANALYSIS |  | VIRTUAL MOCKUPS |  | CONDITION ASSESSMENT & INSPECTIONS |
|  |  |  | ENERGY/MEP ANALYSIS |  | CONST SEQUENCING |  |  |
|  |  |  | SIMULATIONS FOR COMMUNITY & STAKEHOLDERS |  | COST ESTIMATION |  |  |
|  |  |  | CODE, LEED EVALUATION |  | RECORD MODEL |  |  |
|  |  |  | COST ESTIMATION |  |  |  |  |

# SOFTWARE

[ List software used to deliver BIM. Listed below are some examples, Update the list to include models being authored for applicable phase and software used to author and coordinate them.]

This will be updated every even year.

Common Data Environment

- Autodesk Construction Cloud

Authoring

- 3D Design - Autodesk Revit 2026 Architectural, Structural, MEP

- Civil Site Design Only – Autodesk Civil3D (2016 dwg file type)

Coordination

- Navisworks 2026 Manage

Plug-ins

- Revit Add-In – “Scope Box Synchronizer” by Omnia Revit

Each consultant or design team involved in the project shall be responsible for procuring and maintaining the necessary software and licenses required to author their respective models. The software selected must meet the version requirements to be compatible with the BIM workflows. The owner shall not be responsible for the purchase or maintenance of any software or licenses required for the project.

# FILE STRUCTURE

## BIM 360 Doc

[This project will utilize BIM360 Doc cloud storage for project file management to share, view, markup, and manage the construction drawings, documents, and models.]

If there are other platforms that will be utilized for sharing information, add them here, specifying folder structures for each.

| Folder Name | Folders Use |
| --- | --- |

All Revit Models will need to be initialized to the cloud by the Discipline Revit Coordinator and published by close of business every Thursday. Revit files will be initialized/saved in “SPECIFY FOLDERS” discipline specific sub folders.

| Drawings Sub Folders |  |
| --- | --- |
| Sub Folder Name | Folders Use |

# MODELS LIST

[Provide List of models to be developed to support project scope. The name of the file, discipline, and authoring firm name should be included in this table]

| File Name | Discipline/Trade | Contributor |
| --- | --- | --- |

# COLLABORATION PROCEDURES

## BIM EXECUTION PLAN UPDATE PROTOCOL

[The BIM Execution Plan shall be developed at the beginning of the project to establish expectations and procedures. The document is, however, expected to be updated and revised throughout the project as required to accurately reflect the project. The A/E will be responsible for executing such changes and distributing updates to Director’s Representative and the project team.]

## COMMUNICATION PROTOCOL

[Describe strategies for collaboration amongst the project team or between the team, Director’s Representative and/or Contractor. These include email exchanges, meetings with all stakeholders. Approach to coordinate project design, to resolve issues, to provide necessary information to the project teams]

## MEETING PROCEDURES

[A BIM Kickoff process shall occur at the beginning of the project to establish expectations for BIM use.  At the completion of the BIM Kickoff process, this information will be documented in this BIM Execution Plan.  Regular Design Coordination BIM Meetings will be held throughout the project to confirm compliance with BEP and to coordinate project needs.  Mandatory meeting day/time for recurring project BIM meetings will be determined during BIM Kick-off process. Frequency of the meetings and location to be determined collectively by project team at the Kick-off. The following are examples of meetings that should be considered.]

| MEETING TYPE | PROJECT STAGE | FREQUENCY | PARTICIPANTS | LOCATION |
| --- | --- | --- | --- | --- |
| BIM REQUIREMENTS KICK-OFF – DESIGN | Initiation | Once | Owner and/or Director’s Rep, A/E, Sub Consultant | XXXX |
| BIM EXECUTION PLAN REVIEW | Design | Once | Owner and/or Director’s Rep, A/E, Sub Consultant | XXXX |
| DESIGN PROGRESS REVIEW | Design | Regular, as needed | Owner and/or Director’s Rep, A/E, Sub Consultant | XXXX |
| DESIGN COMPLETION /BID PREPARATION | Design | As needed | Owner and/or Director’s Rep, A/E, Sub Consultant | XXXX |
| BIM REQUIREMENTS KICK-OFF – CONSTRUCTION | Pre-Construction, After Construction Award | Once | Owner and/or Director’s Rep, A/E, Sub Consultant, Contractors | XXXX |
| BIM EXECUTION PLAN DEMONSTRATION | Pre-Construction, After Construction Award | Once | Owner and/or Director’s Rep, A/E, Sub Consultant, Contractors | XXXX |
| DESIGN COORDINATION | Pre-Construction | Bi-Weekly, as needed | Owner, CM, A/E, Sub Consultant, Contractors | XXXX |
| CONSTRUCTION PROGRESS REVIEWS | Construction | Bi-Weekly, as needed | Owner, CM, A/E, Sub Consultant, Contractors | XXXX |
| BIM HAND OVER AT CLOSEOUT | To team; to other audiences | TBD | Owner, CM, A/E, Sub Consultant, Contractors | XXXX |

## BIM EXCHANGE PROTOCOL

[Describe how models will be shared with consultants, sub consultants, contractors, subcontractors, Owner, Director’s representative etc. Describe best practices related to

- BIM file detachment, auditing, cleanup procedures before each upload.

- Model Archiving protocols for each milestone

- CDE(BIM360) Project setup, sharing, access and upkeeping practices.

Define file Exchange frequency throughout the Design and Construction as appropriate in the table below.]

| INFORMATION EXCHANGE | FILE SENDER | FILE RECEIVER | EXCHANGE FREQUENCY | DUE DATE/ START DATE | MODEL FILE NAME | NATIVE FILE TYPE | FILE EXCHANGE TYPE |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Existing Model | Designer |  |  |  |  | .rvt | .rvt |
| Design Models | Designer |  |  |  |  | .rvt | .rvt |
| Coordination Model | Contractor |  |  |  |  | .nwd | .nwd |
| Information Bulletins | Designer |  |  |  |  | .rvt | .rvt |
| As-Built Models | Contractor |  |  |  |  | .rvt | .rvt |

## 3D MODEL COORDINATION

[Describe how Design models will be coordinated to resolve any potential interferences and conflicts. Describe in detail when model coordination process will be initiated during the design. Describe protocols to be implemented for Clash coordination, conflict resolution and distribution of the clash reports.

The BEP should include details on :

- Coordination Meeting Cadence

- Roles and Responsibilities of parties involved in coordination process

- Detailed overview of the process pertaining to model upload by each party, creation of federated model.

- Overall strategy for clash coordination, hierarchy of trades in resolving clashes

- Clash Report creation & Distribution to all teams

- Coordination meetings: Place, frequency, objective, follow up procedures.]

## COLLISON INTEREFERENCE CHECK

- Each group shall review the weekly interference check against other models and use the report to eliminate issues. Issues will be generated in BIM360 using the Model Coordination tool.  This should include ARCH coordinating with and cutting holes for MEP as needed for their design. A/E shall not wait for the interference check to coordinate known issues, but use the issues feature within BIM360 to drive issues into the Revit models to speed up resolution. BIM Coordinator will run separate Interference checks near each deliverable milestone and send out screenshots, Navisworks Exported Reports and PDF CAD Standards for actions needed for major elements including:

- Duct work

- Piping

- Conduit

- Equipment

- structural columns, beams, framing

- Walls

- Clashes will be designated as either High, Medium, or Low priority.

- High Priority Clashes are critical to the design and implementation of design and need to be resolved as soon as possible. Examples include

- Ductwork and Piping versus Ceilings

- Ductwork and Piping versus Rated Walls

- Ductwork and Piping versus Structure

- Equipment and clearances versus Walls

- Equipment and clearances versus Structure

- Mech Equipment versus Electrical Equipment

- Ductwork versus Drainage Piping

- Ductwork versus Large Piping (>2”)

- Medium Priority Clashes are important to the design and implementation of design and need to have a resolution path outlined during BIM coordination calls. Examples include:

- Casework versus Electrical Fixtures and Devices

- Furnishings versus Electrical Fixtures and Devices

- Structure versus Specialty Equipment

- Structure versus Electrical Equipment

- Ductwork versus Floors

- Low Priority Clashes are important to the correctness of the model, but are changing during the design and construction processes. Low clashes should be resolved before the next milestone deliverable. Examples include:

- Casework versus Walls

- Plumbing Pipe versus Mechanical Equipment

- Plumbing Pipe versus Electrical Equipment

- ADA Clear Space Requirements versus Doors, Walls, Structure, and Equipment

- Other clashes will exist outside of the ones identified above, and should not be ignored or discarded. The intent is to document and coordinate resolution to clashes above to provide an error-free and collision free model as best as possible at each submission to the client, with documentation between discipline coordination.

# QUALITY CONTROL

## OVERALL STRATEGY FOR QUALITY CONTROL / QUALITY CONTROL CHECKS

[Provide a list of checks that will be performed to ensure quality of the model being delivered. Describe the approach to maintain quality of the models.]

| CHECKS | DEFINITION | RESPONSIBLE PARTY | FREQUENCY |
| --- | --- | --- | --- |
| VISUAL CHECK | Ensure there are no unintended model components, and the design intent has been followed | A/E/Consultants | At submittals |
| INTERFERENCE CHECK | Detect problems in the model where two building components are clashing including soft and hard; this is limited in scope for this project but will mainly involve interference with built surfaces. | A/E/Consultants | At submittals |
| STANDARDS CHECK | Ensure that the BIM and AEC CADD Standard have been followed (fonts, dimensions, line styles, levels/layers, etc.) | A/E/Consultants, Director’s Rep | At submittals |
| MODEL INTEGRITY CHECKS | Describe the QC validation process used to ensure that the Project Model & Data set has no undefined, incorrectly defined, or duplicated elements and the reporting process on noncompliant elements and corrective action plans | A/E/Consultants, Director’s Rep | At submittals |

## MODELING STANDARDS

[The project teams should use this list below as a starting point for modeling best practices to be implemented throughout the project duration. The team should expand or enhance this list based on the project goals and needs. See BIM Guidelines for Detailed list of best practices.]

| Modeling should avoid: | Modeling Should: |
| --- | --- |
| Use of non-BIM software to generate 3D geometry; components must have data parameters. | Adhere to current OGS BIM Specifications. |
| Stacked walls | Use the overall coordinate system provided by OGS |
| Locking dimensions in the project | Model different construction elements separately even if they are adjacent (e.g., sills separate from windows) |
| Creating unnecessary parameters in the project | Use the shaft opening tool for shafts and elevators |
| Doors as curtain panels | Create views organized by sheet set or use (Working, Documentation, Presentation) |
| Attaching walls to floors and roofs | Create set of existing plans under the working folder, with dimensions. |
| Using mass families for anything except overall building massing | Use dependent views wherever they break up plans to fit on a sheet. |
| Openings in walls and openings as ways of windows to cut walls (use voids instead) | Follow naming convention for any new families created |
|  | Use the levels already available in the Existing Model or drawings sets, and for new projects, limit levels to one per slab. |

## MODELING EXCLUSIONS

[Provide a list of modeling objects that are to be excluded from the model(s). Refer to ‘Level of Development’ section for further details.]

## MODELING STRATEGIES

[Explain clearly the strategies to be used to communicate multiple design schemes utilizing models. For example, will the ‘Design Options’ in Revit be used to visualize multiple schemes?]

# CONSTRUCTION ADMINISTRATION

OVERALL STRATEGY

[Describe strategies to be employed during construction phase to support production of Design Bulletins, RFIs or any support information where necessary. Some criteria listed below,

- Describe the strategy to produce multiple design schemes during construction if needed.

- Describe how the Design Intent model be updated to reflect accurate field conditions to generate Design Bulletins.

- Describe the approach to verify field conditions for Construction Administration and QA/QC purposes.]